## DC
title[alternative] | contributor[author] | date[issued] | publisher | identifier[bibliographicCitation] | abstract | abstract | keywords[*] | identifier[govdoc] | identifier[isbn] | identifier[issn] | identifier[ismn] | identifier[uri] | identifier[url] | identifier[doi(resolver)]
| Kim, Youngjun; Li, Ruijiang; Na, Yong Hum; Lee, Rena; Xing, Lei; | 2014-12 | WILEY | MEDICAL PHYSICS, v.41, no.12 | Purpose: 3D optical surface imaging has been applied to patient positioning in radiation therapy (RT). The optical patient positioning system is advantageous over conventional method using cone-beam computed tomography (CBCT) in that it is radiation free, frameless, and is capable of real-time monitoring. While the conventional radiographic method uses volumetric registration, the optical system uses surface matching for patient alignment. The relative accuracy of these two methods has not yet been sufficiently investigated. This study aims to investigate the theoretical accuracy of the surface registration based on a simulation study using patient data. Methods: This study compares the relative accuracy of surface and volumetric registration in head-and-neck RT. The authors examined 26 patient data sets, each consisting of planning CT data acquired before treatment and patient setup CBCT data acquired at the time of treatment. As input data of surface registration, patient&apos;s skin surfaces were created by contouring patient skin from planning CT and treatment CBCT. Surface registration was performed using the iterative closest points algorithm by point-plane closest, which minimizes the normal distance between source points and target surfaces. Six degrees of freedom (three translations and three rotations) were used in both surface and volumetric registrations and the results were compared. The accuracy of each method was estimated by digital phantom tests. Results: Based on the results of 26 patients, the authors found that the average and maximum root-mean-square translation deviation between the surface and volumetric registrations were 2.7 and 5.2 mm, respectively. The residual error of the surface registration was calculated to have an average of 0.9 mm and a maximum of 1.7 mm. Conclusions: Surface registration may lead to results different from those of the conventional volumetric registration. Only limited accuracy can be achieved for patient positioning with an approach based solely on surface information. (C) 2014 American Association of Physicists in Medicine. |  | REAL-TIME; STEREOTACTIC RADIOSURGERY; IMAGE REGISTRATION; BRAIN METASTASES; BREAST-CANCER; FRAMELESS; SYSTEM; REAL-TIME; STEREOTACTIC RADIOSURGERY; IMAGE REGISTRATION; BRAIN METASTASES; BREAST-CANCER; FRAMELESS; SYSTEM; surface registration; optical surface imaging; patient setup; patient positioning; radiotherapy; |  |  | 0094-2405 |  | https://pubs.kist.re.kr/handle/201004/126061