## DC
title[alternative] | contributor[author] | date[issued] | publisher | identifier[bibliographicCitation] | abstract | abstract | keywords[*] | identifier[govdoc] | identifier[isbn] | identifier[issn] | identifier[ismn] | identifier[uri] | identifier[url] | identifier[doi(resolver)]
| Lim, BR; Hu, HY; Fujie, K; | 2003-06 | KLUWER ACADEMIC PUBL | WATER AIR AND SOIL POLLUTION, v.146, no.1-4, pp.23 - 33 | Biological and chemical oxidation characteristics of two kinds of coke-oven wastewaters, A and B, discharged from a conventional batch coke-oven and a newly developed continuous coke-oven, respectively, were studied for selecting effective treatment processes of the wastewaters. Pollutants contained in Wastewater-A could be removed by biological process with a sufficient effluent quality, while those which existed in Wastewater-B could not be satisfactorily removed. Microbial community structure investigation using the respiratory quinone profile clarified that Pseudomonas putida (dominant quinone: ubiquinone-9) was a dominant species in the biological treatment system. The refractory organic pollutants, existed in Wastewater-B, were mineralized more effectively by Fenton&apos;s reagent than by ozone. A wastewater treatment process, in which Fenton&apos;s oxidation is followed by a biological treatment, was proposed for the treatment of Wastewater-B based on the experimental results. |  | WATER; QUINONES; SLUDGE; WATER; QUINONES; SLUDGE; biological removability; coke-oven wastewater; Fenton&apos; s oxidation; quinone profile; treatability evaluation; |  |  | 0049-6979 |  | https://pubs.kist.re.kr/handle/201004/138532